## Sheet 1
RMA ID | Item ID | Return Qty | Item Name | Reason Code | Month
RMA16538 | B3RGM-15X3-30KS-50-BZ-NCIC-120V-D3-HSG | 15 | BEVELED MINI RD DL MWRK 15W 3000K 80 CRI 50° BEAM SLOPED BRONZE HSG 120V LUTRON 2-WIRE 1% | B - USAI ERROR | January
RMA16538 | B3RGM-45-S-BZ-TRM | 10 | BEVELED MINI RD DL MWRK 45° SLOPED SOLITE CLEAR LENS BRONZE BEVEL | B - USAI ERROR | January
RMA16537 | SP-313-0350-3 | 1 | DRIVER REPLACEMENT-BEVELED BLOCK WGD 16W 350mA 120V-277-DIML3 | A - COMPONENT FAILURE | January
RMA16536 | SP-354-0700-6E | 2 | DRIVER REPLACEMENT-BEVELED 2.2 NCSM HSG 32W 700mA WG2 120V-277V ELDO 1% LIN DIM | A - COMPONENT FAILURE | January
RMA16535 | LEM-240-00-27KS | 1 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 80CRI 2700K | A - COMPONENT FAILURE | January
RMA16534 | SP-112-0500-3 | 1 | DRIVER REPLACEMENT BEVELED MINI WGD/CCD IC/CP 18W 500mA 120V-277V DIML3-LU | A - COMPONENT FAILURE | January
RMA16534 | LEM-204-00-2722KH | 1 | LIGHT ENGINE MODULE REPLACEMENT BEVELED WGD ADJ 30DEG 18W HI CRI 3000-2200K | A - COMPONENT FAILURE | January
RMA16533 | SP-140-1000-2 | 1 | DRIVER REPLACEMENT - BEVELED 2.1 NC/IC/CP 24 WATT 1000mA 120V-277V DIML2 TR | A - COMPONENT FAILURE | January
RMA16533 | SP-317-0700-6E | 6 | DRIVER REPLACEMENT BEVELED 2.2 NC HSG 16W 700mA 120V-277V-ELDO 1% LIN DIM | A - COMPONENT FAILURE | January
RMA16533 | SP-263-0700-2 | 6 | DRIVER REPLACEMENT-MICRO TRMD NC 27-41W 700mA DIML2-TR | A - COMPONENT FAILURE | January
RMA16533 | SP-312-0700-6E | 1 | DRIVER REPLACEMENT BEVELED 2.2 FT HSG 16W 700mA 120V-277V ELDO 1% LIN DIM | A - COMPONENT FAILURE | January
RMA16533 | SP-263-0700-2 | 5 | DRIVER REPLACEMENT-MICRO TRMD NC 27-41W 700mA DIML2-TR | A - COMPONENT FAILURE | January
RMA16533 | SP-312-1400-6E | 1 | DRIVER REPLACEMENT BEVELED 2.2 FT HSG 33W 1400mA 120V-277V ELDO 1% LOG DIM | A - COMPONENT FAILURE | January
RMA16533 | SP-320-0350-6E | 1 | DRIVER REPLACEMENT BEVELED 2.2 FTA HSG 9W 350mA 120V-277V ELDO 1% LIN DIM | A - COMPONENT FAILURE | January
RMA16533 | SP-317-0500-6E | 1 | DRIVER REPLACEMENT BEVELED 2.2 NC HSG 12W 500mA 120V-277V-ELDO 1% LIN DIM | A - COMPONENT FAILURE | January
RMA16532 | SP-263-0700-2 | 2 | DRIVER REPLACEMENT-MICRO TRMD NC 27-41W 700mA DIML2-TR | A - COMPONENT FAILURE | January
RMA16531 | SP-322-0500-22 | 1 | DRIVER REPLACEMENT DRIVER-REPLACEMENT MINI X1/X3/WG2/CS1 NC1/NCIC/NCCP-0500mA 120V-277V DIML22-TR | A - COMPONENT FAILURE | January
RMA16531 | SP-353-0700-3 | 1 | DRIVER REPLACEMENT- BEVELED 2.2 NC HSG 32W 700mA WG2 120V LUTRON 2- WIRE DIM | A - COMPONENT FAILURE | January
RMA16531 | SP-323-0350-22 | 1 | DRIVER REPLACEMENT MINI X FT/FTIC-0350mA 120V-277V DIML22-HT | A - COMPONENT FAILURE | January
RMA16531 | SP-322-0500-22 | 1 | DRIVER REPLACEMENT DRIVER-REPLACEMENT MINI X1/X3/WG2/CS1 NC1/NCIC/NCCP-0500mA 120V-277V DIML22-TR | A - COMPONENT FAILURE | January
RMA16530 | LEM-240-00-30KH | 1 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 90CRI 3000K | A - COMPONENT FAILURE | January
RMA16529 | SP-241-1000-2 | 1 | DRIVER REPLACEMENT-BEVELED BLOCK 24W 1000mA 120V-277V DIML2 | A - COMPONENT FAILURE | January
RMA16528 | SP-322-0500-4P | 30 | DRIVER REPLACEMENT DRIVER-REPLACEMENT MINI X1/X3/WG2/CS1 NC1/NCIC/NCCP-500mA 120V-277V DIML4P-TR | A - COMPONENT FAILURE | January
RMA16527 | LEM-307-00-35KH | 1 | LIGHT ENGINE MODULE REPLACEMENT PRIMARY HI CRI 3500K | A - COMPONENT FAILURE | January
RMA16526 | PXB-95-GR | 54 | RIGID STEM ACCESORY 5/8" DIAMETER FIELD CUTTABLE STEM- 95" GREY | B - USAI ERROR | January
RMA16525 | USAI-2DL-LED-WD1XX-00 | 2 | LIGHT ENGINE MODULE REPLACEMENT PINHOLE WGD HI CRI 3000-2200K | A - COMPONENT FAILURE | January
RMA16524 | SP-464-0350-22 | 1 | DRIVER REPLACEMENT-MINI BASIC-9W 350mA NC1/NCIC/NCCP HSG DIML22 | A - COMPONENT FAILURE | January
RMA16523 | LEM-319-00-30KH | 2 | LIGHT ENGINE MODULE REPLACEMENT MINI X 80 HI CRI 3000K | A - COMPONENT FAILURE | January
RMA16522 | SP-062-0500-2 | 25 | DRIVER REPLACEMENT BEVELED BASIC NCSM HSG 20 WATT 500mA-120V-277V-DIML2-TR | A - COMPONENT FAILURE | January
RMA16522 | LEM-213-00-30KS | 25 | LIGHT ENGINE MODULE REPLACEMENT BASIC BEVELED STD CRI 3000K | A - COMPONENT FAILURE | January
RMA16521 | LEM-307-00-35KH | 1 | LIGHT ENGINE MODULE REPLACEMENT PRIMARY HI CRI 3500K | A - COMPONENT FAILURE | January
RMA16521 | SP-464-0350-6E | 1 | DRIVER REPLACEMENT-MINI BASIC-9W 350mA NC1/NCIC/NCCP HSG DIML6E | A - COMPONENT FAILURE | January
RMA16520 | SP-312-0700-6E | 1 | DRIVER REPLACEMENT BEVELED 2.2 FT HSG 16W 700mA 120V-277V ELDO 1% LIN DIM | A - COMPONENT FAILURE | January
RMA16519 | SP-257-0250-22 | 2 | DRIVER REPLACEMENT-MINI BASIC-15W 250mA DIML22 HT | A - COMPONENT FAILURE | January
RMA16519 | LEM-307-00-30KH | 2 | LIGHT ENGINE MODULE REPLACEMENT PRIMARY HI CRI 3000K | A - COMPONENT FAILURE | January
RMA16518 | B3RGM-45-S-BZ-TRM | 15 | BEVELED MINI RD DL MWRK 45° SLOPED SOLITE CLEAR LENS BRONZE BEVEL | B - USAI ERROR | January
RMA16518 | B3RGM-15X3-30KS-50-BZ-NCIC-120V-D3-HSG | 15 | BEVELED MINI RD DL MWRK 15W 3000K 80 CRI 50° BEAM SLOPED BRONZE HSG 120V LUTRON 2-WIRE 1% | B - USAI ERROR | January
RMA16517 | CM 27 | 20 | 27 INCH CHANNEL BARS/2 BEVELED MINI FT | B - USAI ERROR | January
RMA16516 | SP-312-1050-6E | 2 | DRIVER REPLACEMENT BEVELED 2.2 FT HSG 24W 1050mA 120V-277V ELDO 1% LIN DIM | A - COMPONENT FAILURE | January
RMA16515 | P3RF-15L2-EC-120V-D21-HSG | 4 | BEVELED MINI PRIMARY 3" RND FLANGE 15W-EC 120V D21 HSG | B - USAI ERROR | January
RMA16514 | SK-098-B3SDP-GW-M1-B3SDP-WL-M15 | 180 | USAI ARMSTRONG SAMPLE KIT SQ TRML TILE GUN METAL/SQ TRML TILE WHITE LUME | B - USAI ERROR | January
RMA16513 | M1RDL-09X1M-30KH-50-M0-WH-NC-TRM | 1 | LITTLEONES MICRO RD DL TRML 9W 3000K 90 CRI 50° BEAM MICRO DIF LENS WHITE TRIM | A - COMPONENT FAILURE | January
RMA16511 | M1RDL-07X4C-30KS-50-M0-WH-NC-TRM | 1 | LITTLEONES MICRO RD DL TRMD 7W 3000K 80 CRI 50° BEAM MICRO DIF LENS WHITE WHITE TRIM | A - COMPONENT FAILURE | January
RMA16510 | SR21-BL-16WG1-3022KH-30-M-WH-TRM | 1 | SLIVERLED RND ADJ REGRSS BLK BFFL 16WG1 3000-2200KH-30°DIS-MICRO DIFFUSION LENS-WHITE FINISH TRIM | A - COMPONENT FAILURE | January
RMA16510 | SV-16WG1-NC-UNV-D6E | 1 | SLIVERLED SQ/RND TRIMMED 16W WGD1 NEW CONSTRUCTION HSG 120-277V-DIML6E | A - COMPONENT FAILURE | January
RMA16508 | W2-094A | 2 | CONNECTOR HARNESS-28" 8 POS JST/MOLEX RGBW | A - COMPONENT FAILURE | January
RMA16508 | LEM-273-00-RGB30KS | 2 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 32W 80CRI 3000K | A - COMPONENT FAILURE | January
RMA16507 | M1RDL-09X1M-35KS-50-M0-WH-NC-TRM | 11 | LITTLEONES MICRO RD DL TRML 9W 3500K 80 CRI 50° BEAM MICRO DIF LENS WHITE TRIM | A - COMPONENT FAILURE | January
RMA16506 | LEM-213-00-35KS | 6 | LIGHT ENGINE MODULE REPLACEMENT BASIC BEVELED STD CRI 3500K | B - USAI ERROR | January
RMA16505 | MPD06-21H1-27KS-50-BL-BL-PJ1-RM | 41 | MICRO PENDANT DL 21W 2700K 80 CRI 50° BLACK-BLACK PJ1 MOUNT RM | F – OTHER | January
RMA16504 | MWF08-27H1-30KS-WH-WH-TRM | 2 | MICRO WALL WASH FLANGE 8 CELL 27W 3000KS WHITE-WHITE-TRIM | A - COMPONENT FAILURE | January
RMA16504 | MDF02-08H1-30KS-50-WH-WH-TRM | 2 | MICRO DOWNLIGHT FLANGE 2 CELL 8W 3000KS 50° WHITE-WHITE TRIM | A - COMPONENT FAILURE | January
RMA16503 | LEM-203-00-40KS | 2 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED STD CRI 4000K | A - COMPONENT FAILURE | January
RMA16503 | LEM-203-00-40KS | 7 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED STD CRI 4000K | A - COMPONENT FAILURE | January
RMA16502 | SP-044-0350-2 | 1 | DRIVER REPLACEMENT NANO -LSH43 ONLY, MTG-2 14W-350mA 120V-277V-DIML2-TR | A - COMPONENT FAILURE | January
RMA16501 | SP-062-0350-2 | 13 | DRIVER REPLACEMENT BEVELED BASIC NCSM HSG 14 WATT 350mA-120V-277V-DIML2-TR | A - COMPONENT FAILURE | January
RMA16501 | SP-062-0350-2 | 6 | DRIVER REPLACEMENT BEVELED BASIC NCSM HSG 14 WATT 350mA-120V-277V-DIML2-TR | A - COMPONENT FAILURE | January
RMA16501 | SP-033-0350-2 | 1 | DRIVER REPLACEMENT NANO MTG-2 14W-350mA 120V-277V DIML2-TR | A - COMPONENT FAILURE | January
RMA16500 | LEM-319-00-30KS | 8 | LIGHT ENGINE MODULE REPLACEMENT MINI X 80 CRI 3000K | A - COMPONENT FAILURE | January
RMA16499 | B4RDF-S-WH-WH-TRM | 2 | BEVELED ROUND TRMD DL/ADJ SOLITE LENS WHITE | B - USAI ERROR | January
RMA16498 | LEM-240-00-27KH | 6 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 90CRI 2700K | A - COMPONENT FAILURE | January
RMA16498 | SP-056 | 6 | OPTIC REPLACEMENT - RND WW BEVELED 2.0 | A - COMPONENT FAILURE | January
RMA16498 | SP-317-1400-3 | 6 | DRIVER REPLACEMENT BEVELED 2.2 NC HSG 33W 1400mA 120V LUTRON 2-WIRE DIM | A - COMPONENT FAILURE | January
RMA16497 | LEM-230-33-27KS | 40 | LIGHT ENGINE MODULE REPLACEMENT BEVELED 2.0 DL/WW-GEN2-33W STD CRI 2700K | A - COMPONENT FAILURE | January
RMA16496 | B4SDRT-BF-BL-TRM | 8 | BEVELED 2.2 SQ TRMD DL BOROSILICATE FROSTED LENS BLACK | E - CARRIER ERROR | January
RMA16496 | B4SDF-BF-BL-BL-TRM | 8 | BEVELED SQUARE TRMD DL/ADJ BOROSILICATE FROSTED LENS BLACK TRIM | E - CARRIER ERROR | January
RMA16495 | LEM-240-00-30KS | 1 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 80CRI 3000K | A - COMPONENT FAILURE | January
RMA16494 | LEM-203-00-27KS | 1 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED STD CRI 2700K | A - COMPONENT FAILURE | January
RMA16493 | USAI-3DL-DRIVER-IC-WD1IP18A-00 | 1 | DRIVER REPLACEMENT-MINI COMPLETE WARM GLOW IC D19 350mA SAVANT | A - COMPONENT FAILURE | January
RMA16492 | LEM-203-00-27KH | 3 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED HI CRI 2700K | A - COMPONENT FAILURE | January
RMA16492 | LEM-203-00-27KH | 5 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED HI CRI 2700K | A - COMPONENT FAILURE | January
RMA16491 | LEM-203-00-30KS | 2 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED STD CRI 3000K | A - COMPONENT FAILURE | January
RMA16490 | P2-189-08-F801-01D | 10 | FLANGE CEILING TRIMMED MICRO-8 LED-WHITE-TEXTUTE MT-1104 | A - COMPONENT FAILURE | January
RMA16490 | MWF08-27H1-30KH-WH-WH-TRM | 12 | MICRO WALL WASH FLANGE 8 CELL 27W 3000KH WHITE-WHITE-TRIM | A - COMPONENT FAILURE | January
RMA16489 | Z1RWF-D1-BL-TRM | 4 | ZEPTO ROUND TRMD WW BLACK MATTE TRIM | B - USAI ERROR | January
RMA16488 | SP-155-0500-2 | 1 | DRIVER REPLACEMENT- MINI NC1 20W 500mA 120V-277V-DIML2 | A - COMPONENT FAILURE | January
RMA16487 | SP-155-0500-4E | 4 | DRIVER REPLACEMENT-MINI NC1 20W 500mA 120V-277V-DIML4E-LU | A - COMPONENT FAILURE | January
RMA16487 | LEM-203-00-30KS | 10 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED STD CRI 3000K | A - COMPONENT FAILURE | January
RMA16487 | LEM-240-00-30KS | 4 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 80CRI 3000K | A - COMPONENT FAILURE | January
RMA16486 | LEM-319-00-35KS | 1 | LIGHT ENGINE MODULE REPLACEMENT MINI X 80 CRI 3500K | A - COMPONENT FAILURE | January
RMA16486 | LEM-319-00-35KH | 1 | LIGHT ENGINE MODULE REPLACEMENT MINI X 80 HI CRI 3500K | A - COMPONENT FAILURE | January
RMA16485 | M1SDL-09X1M-NC-RM-HSG | 1 | LITTLEONES MICRO SQ DL TRML 9W NC RM HSG | A - COMPONENT FAILURE | January
RMA16485 | M1SDL-09X1M-35KS-50-M0-WH-NC-TRM | 1 | LITTLEONES MICRO SQ DL TRML 9W 3500K 80 CRI 50° BEAM MICRO DIF LENS WHITE TRIM | A - COMPONENT FAILURE | January
RMA16484 | RPA-02-41H1-UNV-D8E | 6 | REMOTE DRIVER MICRO-2 FIXTURES MAX-41W H1 700mA 120-277V D8E | A - COMPONENT FAILURE | January
RMA16483 | SP-328-284-00 | 12 | OPTICS REPLACEMENT MINI X-RND WW NON DIFFUSIONREPLACEMENT | B - USAI ERROR | January
RMA16482 | MDF04-13H1-30KH-50-BL-BL-TRM | 1 | MICRO DOWNLIGHT FLANGE 4 CELL 13W 3000KH 50°BLACK-BLACK TRIM | A - COMPONENT FAILURE | January
RMA16481 | SP-241-1000-2 | 4 | DRIVER REPLACEMENT-BEVELED BLOCK 24W 1000mA 120V-277V DIML2 | A - COMPONENT FAILURE | January
RMA16480 | LEM-203-00-35KS | 2 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED STD CRI 3500K | A - COMPONENT FAILURE | January
RMA16479 | MAL06-21H1-35KH-30-BL-BL-RM-TRM | 3 | MICRO ADJUSTABLE TRIMLESS 6 CELL 21W 3500K 90 CRI 30° BLACK-BLACK RM TRIM | A - COMPONENT FAILURE | January
RMA16478 | LEM-281-00-2722KH | 1 | LIGHT ENGINE MODULE REPLACEMENT SLIVERLED WGD HI CRI 2700-2200K | A - COMPONENT FAILURE | January
RMA16478 | SP-234-0700-6E | 1 | DRIVER REPLACEMENT SLIVERLED 700mA-D6E WGD | A - COMPONENT FAILURE | January
RMA16477 | LEM-307-00-35KH | 1 | LIGHT ENGINE MODULE REPLACEMENT PRIMARY HI CRI 3500K | A - COMPONENT FAILURE | January
RMA16476 | SP-148-1040-2 | 10 | DRIVER REPLACEMENT PENDANT BEVELED 1040mA 120V-277V DIML2-TR | A - COMPONENT FAILURE | January
RMA16476 | SP-062-0500-2 | 10 | DRIVER REPLACEMENT BEVELED BASIC NCSM HSG 20 WATT 500mA-120V-277V-DIML2-TR | A - COMPONENT FAILURE | January
RMA16475 | LEM-203-00-30KS | 4 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED STD CRI 3000K | A - COMPONENT FAILURE | January
RMA16475 | LEM-240-00-27KS | 12 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 80CRI 2700K | A - COMPONENT FAILURE | January
RMA16475 | LEM-240-00-35KS | 2 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 80CRI 3500K | A - COMPONENT FAILURE | January
RMA16474 | SP-140-1000-3 | 3 | DRIVER REPLACEMENT - BEVELED 2.1 NC/IC/CP 24 WATT 1000mA 120V DIML3 LU | B - USAI ERROR | January
RMA16474 | LEM-240-00-27KH | 3 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 90CRI 2700K | B - USAI ERROR | January
RMA16473 | LEM-240-00-35KS | 1 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 80CRI 3500K | A - COMPONENT FAILURE | January
RMA16473 | SP-318-1400-6E | 1 | DRIVER REPLACEMENT BEVELED 2.2 NCSM HSG C3 33W 1400mA 120V-277V ELDO 1% LIN DIM | A - COMPONENT FAILURE | January
RMA16472 | LEM-326-00-35KS | 1 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.2 BASIC 9-24W 80CRI 3500K | A - COMPONENT FAILURE | January
RMA16471 | LEM-240-00-35KS | 2 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 80CRI 3500K | E - CARRIER ERROR | January
RMA16470 | RPD-01-09X1M-UNV-D6E | 1 | REMOTE DRIVER LITTLEONES-1 FIXTURE/DRIVER-9W X1M 225mA 120-277V D6E | A - COMPONENT FAILURE | January
RMA16469 | B3RDL-S-AC-TRM | 25 | BEVELED MINI ROUND DL/ADJ TRML SOLITE LENS ANOD CLEAR MATTE BEVEL | B - USAI ERROR | January
RMA16467 | LEM-336-00-RGB30KS | 1 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED FC1 18W 80CRI 3000K | A - COMPONENT FAILURE | January
RMA16466 | SP-189-0350-6F | 1 | DRIVER REPLACEMENT SLIVERLED 350mA-DIML6F-EL | A - COMPONENT FAILURE | January
RMA16465 | LEM-203-00-27KH | 3 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED HI CRI 2700K | A - COMPONENT FAILURE | January
RMA16465 | SP-065-0500-4 | 3 | DRIVER REPLACEMENT BEVELED MINI CP/IC HSG 20W-500mA-120V-277V-DIML4-LU | A - COMPONENT FAILURE | January
RMA16464 | LEM-319-00-27KH | 8 | LIGHT ENGINE MODULE REPLACEMENT MINI X 90 CRI 2700K | A - COMPONENT FAILURE | January
RMA16463 | LEM-307-00-27KS | 1 | LIGHT ENGINE MODULE REPLACEMENT PRIMARY STD CRI 2700K | A - COMPONENT FAILURE | January
RMA16462 | M1SDL-09X1M-35KS-50-M0-WH-NC-TRM | 2 | LITTLEONES MICRO SQ DL TRML 9W 3500K 80 CRI 50° BEAM MICRO DIF LENS WHITE TRIM | A - COMPONENT FAILURE | January
RMA16461 | SP-464-0350-22 | 1 | DRIVER REPLACEMENT-MINI BASIC-9W 350mA NC1/NCIC/NCCP HSG DIML22 | A - COMPONENT FAILURE | January
RMA16460 | SP-143-1000-6E | 2 | DRIVER REPLACEMENT-BEVELED 2.1 RT 24W-1000mA-120V-277V-DIML6E-EL | A - COMPONENT FAILURE | January
RMA16460 | LEM-240-00-30KS | 1 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 80CRI 3000K | A - COMPONENT FAILURE | January
RMA16458 | LBRP63-9032-WG2-21-21-10-3022KS-90-SOC-A3-RM | 1 | BEVELED 2.1 PENDANT 32W-BLACK-10" OAL-3000-2200KS-90°-SOC-A3-RM | A - COMPONENT FAILURE | January
RMA16457 | LEM-307-00-35KH | 2 | LIGHT ENGINE MODULE REPLACEMENT PRIMARY HI CRI 3500K | A - COMPONENT FAILURE | January
RMA16457 | SP-257-0350-22 | 1 | DRIVER REPLACEMENT-MINI BASIC-15W 350mA DIML22 HT | A - COMPONENT FAILURE | January
RMA16456 | LEM-319-00-35KH | 1 | LIGHT ENGINE MODULE REPLACEMENT MINI X 80 HI CRI 3500K | A - COMPONENT FAILURE | January
RMA16455 | LEM-240-01-35KH | 1 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 90CRI 3500K | A - COMPONENT FAILURE | January
RMA16453 | LEM-213-00-30KS | 1 | LIGHT ENGINE MODULE REPLACEMENT BASIC BEVELED STD CRI 3000K | A - COMPONENT FAILURE | January
RMA16452 | SP-435-0350-D6E | 5 | DRIVER REPLACEMENT-MICRO GRILLE VS 350mA DIML6E | A - COMPONENT FAILURE | January
RMA16452 | MDG04-13H1-30KS-50-BL-BL-GL98-TRM | 21 | MICRO DL FOR WOODWORKS 4 CELL 13W 3000K 80 CRI 50° BLACK-BLACK GL98 TRIM | A - COMPONENT FAILURE | January
RMA16451 | LEM-326-00-35KS | 1 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.2 BASIC 9-24W 80CRI 3500K | A - COMPONENT FAILURE | January
RMA16450 | LEM-240-00-30KS | 1 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 80CRI 3000K | A - COMPONENT FAILURE | January
RMA16449 | MWF06-21H1-35KS-WH-WH-TRM | 1 | MICRO WALL WASH FLANGE 6 CELL 21W 3500KS WHITE-WHITE-TRIM | A - COMPONENT FAILURE | January
RMA16448 | B3RDP-S-GW-TRM | 4 | BEVELED MINI ROUND DL/ADJ TRML TILE SOLITE LENS-GLOBAL WHITE BEVEL | B - USAI ERROR | January
RMA16446 | RPA-04-13H1-UNV-D6E | 6 | REMOTE DRIVER MICRO-4 FIXTURES MAX-13W H1 350mA 120-277V D6E | B - USAI ERROR | January
RMA16446 | RPA-04-21H1-UNV-D6E | 31 | REMOTE DRIVER MICRO-4 FIXTURES MAX-21W H1 700mA 120-277V D6E | B - USAI ERROR | January
RMA16445 | SP-312-1050-6E | 1 | DRIVER REPLACEMENT BEVELED 2.2 FT HSG 24W 1050mA 120V-277V ELDO 1% LIN DIM | B - USAI ERROR | January
RMA16666 | LEM-313-00-3022KH | 6 | LIGHT ENGINE MODULE REPLACEMENT BEVELED MINI WGD HI CRI 3000-2200KH | A - COMPONENT FAILURE | February
RMA16666 | PCA-205-0-035D | 6 | CONTROLLER-MINI-WGD SET:350mA, 0 CAP | A - COMPONENT FAILURE | February
RMA16666 | SP-322-0350-4P | 6 | DRIVER REPLACEMENT DRIVER-REPLACEMENT MINI X1/X3/WG2/CS1 NC1/NCIC/NCCP-0350mA 120V-277V DIML4P-TR | A - COMPONENT FAILURE | February
RMA16665 | MDG06-21H1-30KH-35-BZ-BL-GL94-TRM | 1 | MICRO DL FOR WOODWORKS 6 CELL 21W 3000K 90 CRI 35° BRONZE-BLACK GL94 TRIM | A - COMPONENT FAILURE | February
RMA16664 | B3SAL-25-S-PR-TRM | 185 | BEVELED MINI SQ DL/ADJ TRML 0°-40° TILT SOLITE LENS-PRIMER FINISH BEVEL | B - USAI ERROR | February
RMA16664 | B3SDL-S-PR-TRM | 20 | BEVELED MINI SQ DL/ADJ TRML SOLITE LENS -PRIMER FINISH BEVEL | B - USAI ERROR | February
RMA16664 | B3SWM-D1-PR-TRM | 13 | BEVELED MINI SQ WW TRML80 DEG MICRODIFFUSION -PRIMER FINISH BEVEL TRIM | B - USAI ERROR | February
RMA16664 | B3SDM-S-PR-TRM | 4 | BEVELED MINI SQ DL/ADJ TRML SOLITE LENS -PRIMER FINISH BEVEL TRIM | B - USAI ERROR | February
RMA16664 | B3SAM-25-S-PR-TRM | 32 | BEVELED MINI SQ DL/ADJ TRML 0°-40° TILT SOLITE LENS -PRIMER FINISH BEVEL | B - USAI ERROR | February
RMA16663 | M1SDL-09X1M-NC-RM-HSG | 1 | LITTLEONES MICRO SQ DL TRML 9W NC RM HSG | A - COMPONENT FAILURE | February
RMA16663 | B3SGL-45-S-WH-TRM | 4 | BEVELED MINI SQ DL TRML 45° SLOPED SOLITE CLEAR LENS WHITE BEVEL | D - CUSTOMER ERROR | February
RMA16663 | M1SDL-09X1M-27KS-50-M0-WH-NC-TRM | 1 | LITTLEONES MICRO SQ DL TRML 9W 2700K 80 CRI 50° BEAM MICRO DIF LENS WHITE TRIM | A - COMPONENT FAILURE | February
RMA16662 | LEM-307-00-30KS | 1 | LIGHT ENGINE MODULE REPLACEMENT PRIMARY STD CRI 3000K | A - COMPONENT FAILURE | February
RMA16661 | SP-155-0500-19 | 3 | DRIVER REPLACEMENT-MINI NC1 20W 500mA 120V-277V-DIML19 HT | A - COMPONENT FAILURE | February
RMA16661 | SP-160-0500-19 | 3 | DRIVER REPLACEMENT BEVELED MINI FT HSG 20W 500mA 120V-DIML19-HT | A - COMPONENT FAILURE | February
RMA16661 | LEM-203-00-27KH | 37 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED HI CRI 2700K | A - COMPONENT FAILURE | February
RMA16660 | B4RAF-12C3-30KS-R35-NCCP-UNV-D6E-HSG | 5 | BEVELED 2.2 RD ADJ TRMD 12W CLASSIC 30K 80CRI 35° BEAM NCCP HSG 120-277V ELDO 1% LIN DIM | B - USAI ERROR | February
RMA16660 | B4RAF-25-S-WH-WH-TRM | 5 | BEVELED ROUND TRMD DL/ADJ SOLITE LENS WHITE TRIM | B - USAI ERROR | February
RMA16659 | FL102-A-120 | 2 | BEVEL TRIMLESS 1LT MR16-WW-SQ | B - USAI ERROR | February
RMA16659 | CB 27 | 2 | 27 INCH CHANNEL BARS/2 | B - USAI ERROR | February
RMA16658 | LEM-203-00-27KH | 4 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED HI CRI 2700K | A - COMPONENT FAILURE | February
RMA16657 | SP-241-0700-6E | 1 | DRIVER REPLACEMENT-BEVELED BLOCK 16W 700mA 120V-277V DIML6E |  | February
RMA16656 | B3RDL-S-WH-TRM | 17 | BEVELED MINI ROUND DL/ADJ TRML SOLITE LENS WHITE | B - USAI ERROR | February
RMA16655 | LEM-326-00-35KS | 1 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.2 BASIC 9-24W 80CRI 3500K | A - COMPONENT FAILURE | February
RMA16654 | M1RDL-09X1M-35KS-50-M0-WH-NC-TRM | 3 | LITTLEONES MICRO RD DL TRML 9W 3500K 80 CRI 50° BEAM MICRO DIF LENS WHITE TRIM | A - COMPONENT FAILURE | February
RMA16653 | LEM-240-00-27KH | 1 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 90CRI 2700K | A - COMPONENT FAILURE | February
RMA16652 | SP-030-50 | 3 | BEVELED 2.0/2.1 RND 50DEG DL OPTIC REPLACEMENT KIT | A - COMPONENT FAILURE | February
RMA16652 | SP-034-1400-2 | 2 | DRIVER REPLACEMENT BEVELED 2.0 NC/IC/CP 33 WATT 1400mA 120V-277V DIML2 -TR | A - COMPONENT FAILURE | February
RMA16652 | SP-056 | 2 | OPTIC REPLACEMENT - RND WW BEVELED 2.0 | A - COMPONENT FAILURE | February
RMA16651 | SP-335-01-RD-F-L | 27 | BVLED 4” NC UNV ADPT CONVERSION KIT-RND FLANGED TO TRIMLESS | B - USAI ERROR | February
RMA16649 | MDL06-21H1-30KS-50-WH-TRM | 1 | MICRO DOWNLIGHT TRIMLESS 6 CELL 21W 3000KS 50° WHITE TRIM | B - USAI ERROR | February
RMA16649 | MWL06-21H1-30KS-WH-TRM | 1 | MICRO WALL WASH TRIMLESS 6 CELL 21W 3000KS WHITE TRIM | B - USAI ERROR | February
RMA16648 | B3SDF-S-WH-WH-TRM | 12 | BEVELED MINI SQ DL/ADJ TRMD SOLITE LENS WHITE TRIM | B - USAI ERROR | February
RMA16647 | LEM-274-00-27KS | 4 | LIGHT ENGINE MODULE REPLACEMENT SLIVERLED STD CRI 2700K | A - COMPONENT FAILURE | February
RMA16646 | SP-062-0500-2 | 2 | DRIVER REPLACEMENT BEVELED BASIC NCSM HSG 20 WATT 500mA-120V-277V-DIML2-TR | A - COMPONENT FAILURE | February
RMA16646 | LEM-213-00-35KS | 1 | LIGHT ENGINE MODULE REPLACEMENT BASIC BEVELED STD CRI 3500K | A - COMPONENT FAILURE | February
RMA16645 | LEM-240-00-35KS | 1 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 80CRI 3500K | A - COMPONENT FAILURE | February
RMA16644 | LEM-274-00-30KH | 3 | LIGHT ENGINE MODULE REPLACEMENT SLIVERLED HI CRI 3000K | B - USAI ERROR | February
RMA16643 | LEM-203-00-30KS | 6 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED STD CRI 3000K | A - COMPONENT FAILURE | February
RMA16642 | LEM-240-01-35KH | 1 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 90CRI 3500K | A - COMPONENT FAILURE | February
RMA16641 | LEM-203-00-35KS | 1 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED STD CRI 3500K | A - COMPONENT FAILURE | February
RMA16640 | LEM-203-00-30KH | 5 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED HI CRI 3000K | A - COMPONENT FAILURE | February
RMA16639 | SP-044-0350-2 | 1 | DRIVER REPLACEMENT NANO -LSH43 ONLY, MTG-2 14W-350mA 120V-277V-DIML2-TR | A - COMPONENT FAILURE | February
RMA16638 | SR11-BL-16WG1-2722KH-35-S-PR-TRM | 1 | SLIVERLED RD DN 1" BLK BFFL 16W WGD1 2700-2200KH-35°DISTRIBUTION-SOLITE CLEAR LENS-PRIMER TRIM | A - COMPONENT FAILURE | February
RMA16638 | SV-16WG1-NC-UNV-D6F | 1 | SLIVERLED SQ/RND TRIMMED 16W WGD1 NEW CONSTRUCTION HSG 120-277V-DIML6F | A - COMPONENT FAILURE | February
RMA16637 | SP-324-0350-22 | 5 | DRIVER REPLACEMENT DRIVER - REPLACEMENT MINI X FTA-0350mA 120V-277V DIML22-TR | A - COMPONENT FAILURE | February
RMA16636 | MDM02-08H1-27KS-50-BL-TRM | 3 | MICRO DOWNLIGHT TRIMLESS/ MILLWORK 2 CELL 8W 2700KS 50° BLACK TRIM | A - COMPONENT FAILURE | February
RMA16636 | RPA-02-08H1-UNV-D6F | 3 | REMOTE DRIVER MICRO-2 FIXTURES MAX-8W H1 350mA 120-277V D6F | A - COMPONENT FAILURE | February
RMA16635 | PXB-95-BL | 37 | RIGID STEM ACCESORY 5/8" DIAMETER FIELD CUTTABLE STEM- 95" BLACK | B - USAI ERROR | February
RMA16634 | P3SDF-15L2-35KH-F-WH-EC-TRM-MOD1 | 2 | BEVELED MINI PRIMARY SQUARE DL TRMD 15W L2 35K 90CRI FLOOD WHITE EC TRIM-MOD=BLACK | A - COMPONENT FAILURE | February
RMA16634 | SP-257-0350-22 | 2 | DRIVER REPLACEMENT-MINI BASIC-15W 350mA DIML22 HT | A - COMPONENT FAILURE | February
RMA16633 | SP-318-0700-6E | 1 | DRIVER REPLACEMENT BEVELED 2.2 NCSM HSG C3 16W 700mA 120V-277V ELDO 1% LIN DIM | A - COMPONENT FAILURE | February
RMA16632 | LEM-204-00-2722KS | 8 | LIGHT ENGINE MODULE REPLACEMENT BEVELED WGD ADJ 30DEG 18W STD CRI 2700-2200K | A - COMPONENT FAILURE | February
RMA16632 | LEM-213-00-30KS | 4 | LIGHT ENGINE MODULE REPLACEMENT BASIC BEVELED STD CRI 3000K | A - COMPONENT FAILURE | February
RMA16632 | LEM-203-00-27KS | 4 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED STD CRI 2700K | A - COMPONENT FAILURE | February
RMA16631 | SP-257-0350-22 | 1 | DRIVER REPLACEMENT-MINI BASIC-15W 350mA DIML22 HT | A - COMPONENT FAILURE | February
RMA16630 | SP-142-1400-6F | 25 | DRIVER REPLACEMENT-BEVELED 2.1 FOR FT/FTIC/FTCP-HSG 33W 1400mA 120-277V-DIML6F-EL | A - COMPONENT FAILURE | February
RMA16630 | LEM-240-00-27KS | 25 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 80CRI 2700K | A - COMPONENT FAILURE | February
RMA16629 | SP-142-0350-2 | 1 | DRIVER REPLACEMENT BEVELED 2.1 FOR FT-HSG 9W 350mA-120V-277V-DIML2-TR | A - COMPONENT FAILURE | February
RMA16628 | SP-140-0700-2 | 5 | DRIVER REPLACEMENT - BEVELED 2.1 NC/IC/CP 16WATT 700mA 120V-277V DIML2 -TR | A - COMPONENT FAILURE | February
RMA16628 | SP-142-0500-2 | 1 | DRIVER REPLACEMENT BEVELED 2.1 FOR FT-HSG 12W 500mA-120V-277V-DIML2-TR | A - COMPONENT FAILURE | February
RMA16627 | LEM-326-00-40KS | 1 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.2 BASIC 9-24W 80CRI 4000K | A - COMPONENT FAILURE | February
RMA16626 | LEM-240-00-35KS | 1 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 80CRI 3500K | A - COMPONENT FAILURE | February
RMA16625 | SP-244-0350-2 | 1 | DRIVER REPLACEMENT-MICRO NC 13W 350mA DIML2-TR | A - COMPONENT FAILURE | February
RMA16624 | LEM-326-00-30KS | 2 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.2 BASIC 9-24W 80CRI 3000K | A - COMPONENT FAILURE | February
RMA16623 | SP-155-0500-3 | 2 | DRIVER REPLACEMENT BEVELED MINI NC1-20W-500mA-120V-DIML3-LU | A - COMPONENT FAILURE | February
RMA16623 | LEM-203-00-27KS | 2 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED STD CRI 2700K | A - COMPONENT FAILURE | February
RMA16622 | SP-346-0500-6E | 11 | DRIVER REPLACEMENT-BEVELED CYL 500mA 2-55V 120/277-DIML6E | A - COMPONENT FAILURE | February
RMA16622 | PCA-211-1G | 11 | CONTROLLER-COLOR SELECT SET: 1 CAP | A - COMPONENT FAILURE | February
RMA16622 | LEM-219-00-6022KS | 11 | LIGHT ENGINE MODULE REPLACEMENT LIGH ENGINE- (20) XBD COLOR SELECT MINI STD CRI 6000-2200K | A - COMPONENT FAILURE | February
RMA16621 | LEM-319-00-35KH | 1 | LIGHT ENGINE MODULE REPLACEMENT MINI X 80 HI CRI 3500K | A - COMPONENT FAILURE | February
RMA16620 | SP-502-TRML-X3-DS55-27KS | 103 | REPLACEMENT KIT TRML SQ MINI CLASSIC NC/NC1 X3 27KS 55 DEG DL | A - COMPONENT FAILURE | February
RMA16620 | SP-502-TRMD-X3-A25-27KS | 1 | REPLACEMENT KIT TRMD MINI CLASSIC NC/NC1 X3 27KS 25 DEG ADJ | A - COMPONENT FAILURE | February
RMA16620 | SP-502-TRML-X3-DR55-27KS | 16 | REPLACEMENT KIT TRML RD MINI CLASSIC NC/NC1 X3 27KS 55 DEG DL | A - COMPONENT FAILURE | February
RMA16620 | SP-502-TRML-X3-A25-27KH | 1 | REPLACEMENT KIT TRML MINI CLASSIC NC/NC1 X3 27KH 25 DEG ADJ | A - COMPONENT FAILURE | February
RMA16620 | SP-502-TRMD-X3-DR55-27KS | 14 | REPLACEMENT KIT TRMD RD MINI CLASSIC NC/NC1 X3 27KS 55 DEG DL | A - COMPONENT FAILURE | February
RMA16620 | SP-502-TRML-X3-DS55-27KH | 16 | REPLACEMENT KIT TRML SQ MINI CLASSIC NC/NC1 X3 27KH 55 DEG DL | A - COMPONENT FAILURE | February
RMA16620 | SP-502-TRML-X3-A25-27KS | 28 | REPLACEMENT KIT TRML MINI CLASSIC NC/NC1 X3 27KS 25 DEG ADJ | A - COMPONENT FAILURE | February
RMA16620 | SP-502-TRMD-X3-DS55-27KS | 12 | REPLACEMENT KIT TRMD SQ MINI CLASSIC NC/NC1 X3 27KS 55 DEG DL | A - COMPONENT FAILURE | February
RMA16619 | LEM-274-00-30KS | 1 | LIGHT ENGINE MODULE REPLACEMENT SLIVERLED STD CRI 3000K | A - COMPONENT FAILURE | February
RMA16618 | MDF06-21H1-30KS-50-BG-BL-TRM | 1 | MICRO DOWNLIGHT FLANGE 6 CELL 21W 3000KS 50° BLACK SPECULAR- BLACK TRIM | A - COMPONENT FAILURE | February
RMA16618 | MDF08-27H1-30KS-50-BZ-BL-TRM | 1 | MICRO DOWNLIGHT FLANGE 8 CELL 27W 3000KS 50° BRONZE SPECULAR-BLACK TRIM | A - COMPONENT FAILURE | February
RMA16618 | MDF06-21H1-30KS-50-SG-WH-TRM | 1 | MICRO DOWNLIGHT FLANGE 6 CELL 21W 3000KS 50°SILVER SPECULAR- WHITE TRIM | A - COMPONENT FAILURE | February
RMA16618 | RPA-01-21H1-120V-D19 | 1 | REMOTE DRIVER MICRO-1 FIXTURE MAX-21W H1 700mA 120V D19 | A - COMPONENT FAILURE | February
RMA16618 | MWF04-13H1-30KS-BG-BL-TRM | 1 | MICRO WALL WASH FLANGE 4 CELL 13W 3000KS BLACK SPECULAR-BLACK-TRIM | A - COMPONENT FAILURE | February
RMA16617 | LEM-307-00-35KH | 4 | LIGHT ENGINE MODULE REPLACEMENT PRIMARY HI CRI 3500K | A - COMPONENT FAILURE | February
RMA16616 | LEM-203-00-40KS | 36 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED STD CRI 4000K | A - COMPONENT FAILURE | February
RMA16615 | SP-062-0500-2 | 9 | DRIVER REPLACEMENT BEVELED BASIC NCSM HSG 20 WATT 500mA-120V-277V-DIML2-TR | A - COMPONENT FAILURE | February
RMA16614 | LEM-203-00-27KH | 3 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED HI CRI 2700K | A - COMPONENT FAILURE | February
RMA16613 | B4RDF-S-BL-BL-TRM | 1 | BEVELED ROUND TRMD DL/ADJ SOLITE LENS BLACK-TRIM | B - USAI ERROR | February
RMA16612 | B4SDF-16G1-40KS-50-NCSM-UNV-D6E-HSG | 2 | BEVELED 2.2 BASIC SQ DL TRMD 16W CLASSIC 40K 80CRI 50° BEAM NCSM HSG 120-277V ELDO 1% LIN DIM | E - CARRIER ERROR | February
RMA16611 | SP-402-0350-22 | 1 | DRIVER KIT PRIMARY 2.2 DL/WW D22 15W | A - COMPONENT FAILURE | February
RMA16610 | MDM04-13H1-30KS-50-WH-TRM | 3 | MICRO DOWNLIGHT TRIMLESS/MILLWORK 4 CELL 13W 3000KS 50° WHITE TRIM | F – OTHER | February
RMA16609 | SP-155-0500-2 | 10 | DRIVER REPLACEMENT- MINI NC1 20W 500mA 120V-277V-DIML2 | A - COMPONENT FAILURE | February
RMA16609 | LEM-203-00-30KS | 30 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED STD CRI 3000K | A - COMPONENT FAILURE | February
RMA16608 | LEM-319-00-30KS | 4 | LIGHT ENGINE MODULE REPLACEMENT MINI X 80 CRI 3000K | A - COMPONENT FAILURE | February
RMA16607 | LEM-240-00-30KS | 3 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 80CRI 3000K | A - COMPONENT FAILURE | February
RMA16606 | LEM-274-00-30KH | 3 | LIGHT ENGINE MODULE REPLACEMENT SLIVERLED HI CRI 3000K | A - COMPONENT FAILURE | February
RMA16605 | SP-062-0500-2-EML | 1 | DRIVER REPLACEMENT BEVELED BASIC NCSM HSG 20 WATT 500mA-120V-277V-DIML2-TR-EML | A - COMPONENT FAILURE | February
RMA16604 | LEM-213-00-35KS | 2 | LIGHT ENGINE MODULE REPLACEMENT BASIC BEVELED STD CRI 3500K | A - COMPONENT FAILURE | February
RMA16603 | LEM-319-00-30KH | 2 | LIGHT ENGINE MODULE REPLACEMENT MINI X 80 HI CRI 3000K | A - COMPONENT FAILURE | February
RMA16602 | USAI-3DL-FC1RX18D23-00 | 1 | SAVANT/USAI REMOTE DRIVER-RECESS 3 18W INFINITE COLOR+ DMX CONTROL | A - COMPONENT FAILURE | February
RMA16601 | SP-033-0350-2 | 1 | DRIVER REPLACEMENT NANO MTG-2 14W-350mA 120V-277V DIML2-TR | A - COMPONENT FAILURE | February
RMA16600 | MWL06-21H1-30KH-BL-TRM | 1 | MICRO WALL WASH TRIMLESS 6 CELL 21W 3000KH BLACK TRIM | B - USAI ERROR | February
RMA16600 | MWL06-21H1-NC-UNV-D2-HSG | 1 | MICRO WALL WASH TRIMLESS 6 CELL 21W NC 120-277V DIML2 HSG | B - USAI ERROR | February
RMA16598 | LEM-230-33-27KH | 40 | LIGHT ENGINE MODULE REPLACEMENT BEVELED 2.0 DL/WW-GEN2-33W HI CRI 2700K | A - COMPONENT FAILURE | February
RMA16597 | M1RAF-09X1M-35KH-50-M0-BL-BL-RT-TRM | 2 | LITTLEONES MICRO RD ADJ TRMD 9W 3500K 90 CRI 50° BEAM MICRO DIF LENS BLACK BLACK TRIM | A - COMPONENT FAILURE | February
RMA16596 | LEM-203-00-27KH | 7 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED HI CRI 2700K | B - USAI ERROR | February
RMA16594 | LEM-240-00-40KS | 12 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 80CRI 4000K | B - USAI ERROR | February
RMA16594 | LEM-230-24-40KS | 12 | LIGHT ENGINE MODULE REPLACEMENT BEVELED 2.0 & PENDANT DL/WW-GEN2-24W STD CRI 4000K | B - USAI ERROR | February
RMA16593 | SP-187-X-15-D6E | 1 | DRIVER REPLACEMENT CONNECT NC HSG 15W 500mA DIML6E-LU | A - COMPONENT FAILURE | February
RMA16592 | LEM-319-00-30KS | 77 | LIGHT ENGINE MODULE REPLACEMENT MINI X 80 CRI 3000K | A - COMPONENT FAILURE | February
RMA16591 | SP-318-1400-6E | 1 | DRIVER REPLACEMENT BEVELED 2.2 NCSM HSG C3 33W 1400mA 120V-277V ELDO 1% LIN DIM | A - COMPONENT FAILURE | February
RMA16590 | B4RDF-12C3-35KS-50-NCSM-UNV-D6E-HSG | 1 | BEVELED 2.2 RD DL TRMD 12W CLASSIC 35K 80CRI 50° BEAM NCSM HSG 120-277V ELDO 1% LIN DIM | E - CARRIER ERROR | February
RMA16589 | LEM-203-00-27KH | 5 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED HI CRI 2700K | A - COMPONENT FAILURE | February
RMA16588 | LEM-240-00-30KS | 1 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 80CRI 3000K | A - COMPONENT FAILURE | February
RMA16587 | P4RDF-WH-TRM | 388 | BEVELED 2.2 PRIMARY RD TRMD DL SOLITE LENS WHITE TRIM | B - USAI ERROR | February
RMA16586 | B3SDF-S-BZ-BZ-TRM | 105 | BEVELED MINI SQ DL/ADJ TRMD SOLITE LENS -BRONZE BEVEL-BRONZE FLANGE TRIM | B - USAI ERROR | February
RMA16585 | SP-366-0700-23X2 | 1 | DRIVER REPLACEMENT-BEVELED 2.2 NC HSG 32W FC1 120-277V ELDO DMX 0.1% 16 BIT MANUAL ADDRESS | A - COMPONENT FAILURE | February
RMA16585 | LEM-273-00-RGB30KS | 1 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 32W 80CRI 3000K | A - COMPONENT FAILURE | February
RMA16584 | SP-142-0700-19 | 2 | DRIVER REPLACEMENT BEVELED 2.1 FT-HSG 16W 700mA-120V-277V-DIML19-HT | A - COMPONENT FAILURE | February
RMA16583 | SP-317-0500-6E | 5 | DRIVER REPLACEMENT BEVELED 2.2 NC HSG 12W 500mA 120V-277V-ELDO 1% LIN DIM | A - COMPONENT FAILURE | February
RMA16582 | USAI-4DL-LED-FC1XX-00 | 1 | LIGHT ENGINE MODULE REPLACEMENT-RECESS 4.5 FC1 80CRI 3000K | A - COMPONENT FAILURE | February
RMA16581 | USAI-3DL-FC1RX18A-00 | 1 | SAVANT/USAI REMOTE DRIVER-RECESS 3 18W INFINATE COLOR+ DMX CONTROL | A - COMPONENT FAILURE | February
RMA16580 | M1RDL-07X4C-35KS-50-M0-BL-NC-TRM | 1 | LITTLEONES MICRO RD DL TRML 7W 3500K 80 CRI 50° BEAM MICRO DIF LENS BLACK TRIM | E - CARRIER ERROR | February
RMA16578 | MDL04-13H1-30KH-50-BL-TRM | 4 | MICRO DOWNLIGHT TRIMLESS 4 CELL 13W 3000KH 50° BLACK TRIM | A - COMPONENT FAILURE | February
RMA16578 | SP-244-0350-2 | 4 | DRIVER REPLACEMENT-MICRO NC 13W 350mA DIML2-TR | A - COMPONENT FAILURE | February
RMA16577 | CMRA10-15X3-40KS-55-S-WH-SM5-UNV-D6E | 1 | BEVELED MINI CYL RD ADJ 15W WHITE 10" 4000KS 55° SOC SM5 UNV DIML6E | B - USAI ERROR | February
RMA16576 | SP-087-1000-6E | 1 | DRIVER REPLACEMENT-BEVELED 6" PENDANT-24W-1000mA-120V-277V DIML6E-EL | A - COMPONENT FAILURE | February
RMA16575 | RPD-01-09X1M-UNV-D6E | 2 | REMOTE DRIVER LITTLEONES-1 FIXTURE/DRIVER-9W X1M 225mA 120-277V D6E | A - COMPONENT FAILURE | February
RMA16575 | M1RDF-09X1M-35KS-35-M0-WH-WH-RT-TRM | 2 | LITTLEONES MICRO RD DL TRMD 9W 3500K 80 CRI 35° BEAM MICRO DIF LENS WHITE WHITE TRIM | A - COMPONENT FAILURE | February
RMA16574 | LEM-293-00-30KS | 1 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 36W 80CRI 3000K | A - COMPONENT FAILURE | February
RMA16573 | SP-317-0500-4H | 1 | DRIVER REPLACEMENT BEVELED 2.2 NC HSG 12W 500mA 120-277V LUTRON H ECO DIM | A - COMPONENT FAILURE | February
RMA16572 | LEM-239-00-30KH | 8 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.2 ADJ 90+CRI 3000K-WIDE ARRAY | A - COMPONENT FAILURE | February
RMA16571 | LEM-274-00-30KH | 1 | LIGHT ENGINE MODULE REPLACEMENT SLIVERLED HI CRI 3000K | A - COMPONENT FAILURE | February
RMA16570 | B4RDF-12G1-30KH-25-NC-120V-D19-HSG | 1 | BEVELED 2.2 BASIC RD DL TRMD 12W CLASSIC 30K 90CRI 25° BEAM NC HSG 120V PHASE 1% DIM | B - USAI ERROR | February
RMA16570 | B4RDF-12G1-30KH-50-NC-120V-D19-HSG | 2 | BEVELED 2.2 BASIC RD DL TRMD 12W CLASSIC 30K 90CRI 50° BEAM NC HSG 120V PHASE 1% DIM | B - USAI ERROR | February
RMA16569 | LEM-240-00-35KS | 1 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 80CRI 3500K | A - COMPONENT FAILURE | February
RMA16568 | SP-142-1400-6F | 1 | DRIVER REPLACEMENT-BEVELED 2.1 FOR FT/FTIC/FTCP-HSG 33W 1400mA 120-277V-DIML6F-EL | A - COMPONENT FAILURE | February
RMA16567 | LEM-240-00-30KH | 6 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 90CRI 3000K | A - COMPONENT FAILURE | February
RMA16563 | AL40D | 13 | SIZE D-ACCESSORY LENS MICRODIFFUSION 40° BEAM | B - USAI ERROR | February
RMA16563 | B3SAL-25-S-WH-TRM | 8 | BEVELED MINI SQ DL/ADJ TRML 0°-40° TILT SOLITE LENS-WHITE BEVEL | B - USAI ERROR | February
RMA16563 | B3SAF-15DW1-3018KH-25-NCIC-UNV-D6E-HSG | 13 | BEVELED MINI SQ ADJ TRMD 15W DIM WARM 30-18 90CRI 25° BEAM NCIC HSG 120-277V D6E | B - USAI ERROR | February
RMA16563 | B3SAF-25-S-BL-BL-TRM | 9 | BEVELED MINI SQ DL/ADJ TRMD 0°-40° TILT SOLITE LENS -BLACK BEVEL-BLACK FLANGE TRIM | B - USAI ERROR | February
RMA16563 | RED-3821-10-04-07X4C-UNV-1-D6E | 1 | REMOTE DRIVER 38"x21" ENCLOSURE- 10x DRIVERS, 4 FIXTURES MAX/DRIVER- 7W X4C 120-277V D6E | B - USAI ERROR | February
RMA16563 | B3SDF-S-BL-BL-TRM | 21 | BEVELED MINI SQ DL/ADJ TRMD SOLITE LENS -BLACK BEVEL-BLACK FLANGE TRIM | B - USAI ERROR | February
RMA16563 | B3SWL-D1-BL-TRM | 9 | BEVELED MINI SQ WW TRML 80 DEG MICRODIFFUSION -BLACK BEVEL | B - USAI ERROR | February
RMA16563 | B3SAL-15DW1-3018KH-25-NCIC-UNV-D6E-HSG | 8 | BEVELED MINI SQ ADJ TRML 15W DIM WARM 30-18 90CRI 25° BEAM NCIC HSG 120-277V D6E | B - USAI ERROR | February
RMA16563 | B3SWL-15DW1-3018KH-W2-NCIC-UNV-D6E-HSG | 9 | BEVELED MINI SQ WW TRML 15W DIM WARM 30-18 90CRI NCIC HSG 120-277V D6E | B - USAI ERROR | February
RMA16563 | B3SAF-25-S-BL-BL-TRM | 4 | BEVELED MINI SQ DL/ADJ TRMD 0°-40° TILT SOLITE LENS -BLACK BEVEL-BLACK FLANGE TRIM | B - USAI ERROR | February
RMA16563 | B3SDL-15DW1-3018KH-50-NCIC-UNV-D6E-HSG | 33 | BEVELED MINI SQ DL TRML 15W DIM WARM 30-18 90CRI 50° BEAM NCIC HSG 120-277V D6E | B - USAI ERROR | February
RMA16563 | AL40D | 8 | SIZE D-ACCESSORY LENS MICRODIFFUSION 40° BEAM | B - USAI ERROR | February
RMA16563 | B3SDL-S-BL-TRM | 33 | BEVELEDMINI SQ DL/ADJ TRML SOLITE LENS BLACK | B - USAI ERROR | February
RMA16563 | B3SDF-15DW1-3018KH-50-NCIC-UNV-D6E-HSG | 21 | BEVELED MINI SQ DL TRMD 15W DIM WARM 30-18 90CRI 50° BEAM NCIC HSG 120-277V D6E | B - USAI ERROR | February
RMA16563 | M1SAL-07X4C-30KH-50-M0-WH-WH-IC-TRM | 4 | LITTLEONES MICRO SQ ADJ TRML 7W 3000K 90 CRI 50° BEAM MICRO DIF LENS WHITE WHITE TRIM | B - USAI ERROR | February
RMA16563 | M1SAF-07X4C-30KH-50-M0-BL-BL-RT-TRM | 28 | LITTLEONES MICRO SQ ADJ TRMD 7W 3000K 90 CRI 50° BEAM MICRO DIF LENS BLACK BLACK TRIM | B - USAI ERROR | February
RMA16563 | M1SAL-07X4C-IC-RM-HSG | 4 | LITTLEONES MICRO SQ ADJ TRML 7W IC RM HSG | B - USAI ERROR | February
RMA16561 | SP-234-0700-6F | 1 | DRIVER REPLACEMENT SLIVERLED 700mA-D6F WGD | A - COMPONENT FAILURE | February
RMA16560 | M1SAL-07X4C-30KH-50-M0-WH-WH-IC-TRM | 1 | LITTLEONES MICRO SQ ADJ TRML 7W 3000K 90 CRI 50° BEAM MICRO DIF LENS WHITE WHITE TRIM | A - COMPONENT FAILURE | February
RMA16559 | M1RDF-09X1M-35KS-35-M0-WH-WH-RT-TRM | 1 | LITTLEONES MICRO RD DL TRMD 9W 3500K 80 CRI 35° BEAM MICRO DIF LENS WHITE WHITE TRIM | A - COMPONENT FAILURE | February
RMA16559 | RPD-01-09X1M-UNV-D6E | 1 | REMOTE DRIVER LITTLEONES-1 FIXTURE/DRIVER-9W X1M 225mA 120-277V D6E | A - COMPONENT FAILURE | February
RMA16558 | LEM-240-00-27KH | 1 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 90CRI 2700K | A - COMPONENT FAILURE | February
RMA16557 | SP-323-0500-22 | 5 | DRIVER REPLACEMENT MINI X FT/FTIC-500mA 120V-277V DIML22-ERP | A - COMPONENT FAILURE | February
RMA16556 | SP-324-0500-3 | 4 | DRIVER REPLACEMENT DRIVER - REPLACEMENT MINI X FTA-500mA 120V-277V DIML3-TR | A - COMPONENT FAILURE | February
RMA16556 | LEM-313-00-3022KH | 4 | LIGHT ENGINE MODULE REPLACEMENT BEVELED MINI WGD HI CRI 3000-2200KH | A - COMPONENT FAILURE | February
RMA16555 | SP-257-0350-2 | 19 | DRIVER REPLACEMENT-MINI BASIC-15W 350mA DIML2 HT | A - COMPONENT FAILURE | February
RMA16554 | SP-106-F010 | 8 | NANO ROUND ADJ WET BAFFLE REPLACEMENT WHITE | F – OTHER | February
RMA16553 | SP-065-0500-4 | 10 | DRIVER REPLACEMENT BEVELED MINI CP/IC HSG 20W-500mA-120V-277V-DIML4-LU | A - COMPONENT FAILURE | February
RMA16553 | LEM-203-00-30KH | 10 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED HI CRI 3000K | A - COMPONENT FAILURE | February
RMA16552 | LEM-203-00-27KH | 1 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED HI CRI 2700K | B - USAI ERROR | February
RMA16551 | SP-209-0700-7 | 1 | DRIVER REPLACEMENT- BEVELED PENDANT WGD 700mA-120V-277V-DIML7-EL | A - COMPONENT FAILURE | February
RMA16549 | SP-033-0350-2 | 1 | DRIVER REPLACEMENT NANO MTG-2 14W-350mA 120V-277V DIML2-TR | A - COMPONENT FAILURE | February
RMA16548 | SP-062-0500-2 | 1 | DRIVER REPLACEMENT BEVELED BASIC NCSM HSG 20 WATT 500mA-120V-277V-DIML2-TR | A - COMPONENT FAILURE | February
RMA16548 | LEM-213-00-30KS | 1 | LIGHT ENGINE MODULE REPLACEMENT BASIC BEVELED STD CRI 3000K | A - COMPONENT FAILURE | February
RMA16547 | SP-323-0350-22 | 3 | DRIVER REPLACEMENT MINI X FT/FTIC-0350mA 120V-277V DIML22-HT | A - COMPONENT FAILURE | February
RMA16547 | SP-323-0250-22 | 3 | DRIVER REPLACEMENT MINI X FT/FTIC-250mA 120V-277V DIML22-ERP | A - COMPONENT FAILURE | February
RMA16547 | LEM-319-00-35KH | 3 | LIGHT ENGINE MODULE REPLACEMENT MINI X 80 HI CRI 3500K | A - COMPONENT FAILURE | February
RMA16547 | LEM-319-00-35KH | 3 | LIGHT ENGINE MODULE REPLACEMENT MINI X 80 HI CRI 3500K | A - COMPONENT FAILURE | February
RMA16546 | B3SAL-15DW1-3018KH-25-NCIC-UNV-D6E-HSG | 8 | BEVELED MINI SQ ADJ TRML 15W DIM WARM 30-18 90CRI 25° BEAM NCIC HSG 120-277V D6E | B - USAI ERROR | February
RMA16546 | B3SAF-25-S-BL-BL-TRM | 4 | BEVELED MINI SQ DL/ADJ TRMD 0°-40° TILT SOLITE LENS -BLACK BEVEL-BLACK FLANGE TRIM | B - USAI ERROR | February
RMA16546 | B3SAF-25-S-BL-BL-TRM | 9 | BEVELED MINI SQ DL/ADJ TRMD 0°-40° TILT SOLITE LENS -BLACK BEVEL-BLACK FLANGE TRIM | B - USAI ERROR | February
RMA16546 | AL40D | 8 | SIZE D-ACCESSORY LENS MICRODIFFUSION 40° BEAM | B - USAI ERROR | February
RMA16546 | AL40D | 13 | SIZE D-ACCESSORY LENS MICRODIFFUSION 40° BEAM | B - USAI ERROR | February
RMA16546 | B3SWL-15DW1-3018KH-W2-NCIC-UNV-D6E-HSG | 9 | BEVELED MINI SQ WW TRML 15W DIM WARM 30-18 90CRI NCIC HSG 120-277V D6E | B - USAI ERROR | February
RMA16546 | B3SDF-S-BL-BL-TRM | 21 | BEVELED MINI SQ DL/ADJ TRMD SOLITE LENS -BLACK BEVEL-BLACK FLANGE TRIM | B - USAI ERROR | February
RMA16546 | M1SAL-07X4C-30KH-50-M0-WH-WH-IC-TRM | 4 | LITTLEONES MICRO SQ ADJ TRML 7W 3000K 90 CRI 50° BEAM MICRO DIF LENS WHITE WHITE TRIM | B - USAI ERROR | February
RMA16546 | B3SDF-15DW1-3018KH-50-NCIC-UNV-D6E-HSG | 21 | BEVELED MINI SQ DL TRMD 15W DIM WARM 30-18 90CRI 50° BEAM NCIC HSG 120-277V D6E | B - USAI ERROR | February
RMA16546 | M1SAL-07X4C-IC-RM-HSG | 4 | LITTLEONES MICRO SQ ADJ TRML 7W IC RM HSG | B - USAI ERROR | February
RMA16546 | RED-3821-10-04-07X4C-UNV-1-D6E | 1 | REMOTE DRIVER 38"x21" ENCLOSURE- 10x DRIVERS, 4 FIXTURES MAX/DRIVER- 7W X4C 120-277V D6E | B - USAI ERROR | February
RMA16546 | M1SAF-07X4C-30KH-50-M0-BL-BL-RT-TRM | 28 | LITTLEONES MICRO SQ ADJ TRMD 7W 3000K 90 CRI 50° BEAM MICRO DIF LENS BLACK BLACK TRIM | B - USAI ERROR | February
RMA16546 | B3SDL-15DW1-3018KH-50-NCIC-UNV-D6E-HSG | 33 | BEVELED MINI SQ DL TRML 15W DIM WARM 30-18 90CRI 50° BEAM NCIC HSG 120-277V D6E | B - USAI ERROR | February
RMA16546 | B3SAL-25-S-WH-TRM | 8 | BEVELED MINI SQ DL/ADJ TRML 0°-40° TILT SOLITE LENS-WHITE BEVEL | B - USAI ERROR | February
RMA16546 | B3SDL-S-BL-TRM | 33 | BEVELEDMINI SQ DL/ADJ TRML SOLITE LENS BLACK | B - USAI ERROR | February
RMA16546 | B3SWL-D1-BL-TRM | 9 | BEVELED MINI SQ WW TRML 80 DEG MICRODIFFUSION -BLACK BEVEL | B - USAI ERROR | February
RMA16546 | B3SAF-15DW1-3018KH-25-NCIC-UNV-D6E-HSG | 13 | BEVELED MINI SQ ADJ TRMD 15W DIM WARM 30-18 90CRI 25° BEAM NCIC HSG 120-277V D6E | B - USAI ERROR | February
RMA16545 | RED-2121-05-04-07X4C-UNV-1-D6E | 1 | REMOTE DRIVER 21"x21" ENCLOSURE- 5x DRIVERS, 4 FIXTURES MAX/DRIVER- 7W X4C 120-277V D6E | B - USAI ERROR | February
RMA16545 | B3SAM-25-S-BZ-TRM | 3 | BEVELED MINI SQ DL/ADJ TRML 0°-40° TILT SOLITE LENS-BRONZE BEVEL | B - USAI ERROR | February
RMA16545 | M1SAF-07X4C-27KS-35-M0-BL-BL-RT-TRM | 10 | LITTLEONES MICRO SQ ADJ TRMD 7W 2700K 80 CRI 35° BEAM MICRO DIF LENS BLACK BLACK TRIM | B - USAI ERROR | February
RMA16544 | RED-2121-05-04-07X4C-UNV-1-D6E | 9 | REMOTE DRIVER 21"x21" ENCLOSURE- 5x DRIVERS, 4 FIXTURES MAX/DRIVER- 7W X4C 120-277V D6E | B - USAI ERROR | February
RMA16543 | BLRD5-16C3-30KS-50-S-1180-CC-UNV-D2 | 7 | BEVELED BLOCK RD 16W 3000KS-50° DL-SOLITE LENS-RAL 9011 49/80540-CONDUIT CUTOUTS 120-277V DIML2 | B - USAI ERROR | February
RMA16543 | BLRD5-16C3-30KS-50-S-1180-CC-UNV-D2 | 1 | BEVELED BLOCK RD 16W 3000KS-50° DL-SOLITE LENS-RAL 9011 49/80540-CONDUIT CUTOUTS 120-277V DIML2 | B - USAI ERROR | February
RMA16543 | CUSTOM-COLOR-SETUP-FEE | 1 | CUSTOM-COLOR-SETUP-FEE | B - USAI ERROR | February
RMA16542 | SP-155-0500-2 | 1 | DRIVER REPLACEMENT- MINI NC1 20W 500mA 120V-277V-DIML2 | A - COMPONENT FAILURE | February
RMA16539 | LEM-203-00-27KS | 6 | LIGHT ENGINE MODULE REPLACEMENT NANO/MINI BEVELED STD CRI 2700K | A - COMPONENT FAILURE | February
RMA16539 | LEM-240-00-27KS | 5 | LIGHT ENGINE MODULE REPLACEMENT-BEVELED 2.1/2.2 9-33W 80CRI 2700K | A - COMPONENT FAILURE | February