## Sheet 1
Date | orig_SO | ShipDate | Specifier | Customer | Job_Name | Summary | Product_Family | Qty | Qty_On_Order | Prob_Part | Replaced | Repl_SO | RMA | Comments | code
2020-09-11 | SO106458 |  |  | USESI, US ELECTRICAL SERVICES, INC |  | REPORTED Customer received new material which became dfectiveD | NANO/MINI | 2 |  | LEM-203-00-35KS |  |  | RMA14505 |  | ELE
2020-09-11 | SO105477 |  |  | CED - AUSTIN |  | REPORTED not working. | REMOTE PS | 1 |  | RPB-01-15X3-UNV-D6E-EM7 |  |  | RMA14504 |  | ELE
2020-09-11 | SO94501 |  | SPIEZLE GROUP (OOT) | SONEPAR USA/COOPER | HOLMDEL BOE/QUOTE 46181 | TYPE F2 ordered SQ HSGs entered in error as RND. Customer will accept RND TRM as the housing have already been installed | BEVELED 2.2 | 56 |  | B4SDF-SF-WH-WH-TRM |  |  | RMA14503 |  | OE
2020-09-11 | SO63723 |  |  | WEST-LITE SUPPLY CO., INC | First Republic Bank Newport Beach | REPORTED DEFECTIVE | NANO/MINI | 6 |  | LEM-203-00-30KS |  |  | RMA14502 |  | ELE
2020-09-11 | SO63723 |  |  | WEST-LITE SUPPLY CO., INC | First Republic Bank Newport Beach | REPORTED DEFECTIVE | BEVELED MINI | 2 |  | SP-065-0500-2 |  |  | RMA14502 |  | ELE
2020-09-10 | SO93098 |  |  | SAVANT SYSTEMS LLC | 192 LACKAWANNA AVE | REPORTED TYPE RECESS 3 Reported 4 of the above type completely out and stuck at 6000K | SAVANT RECESS 3 | 1 |  | USAI-3DL-LED-TW1XX-00 |  |  | RMA14501 |  | ELE
2020-09-10 | SO102845 |  |  | SAVANT SYSTEMS LLC |  | REPORTED One Multoocell fixture only producing light from one cell. Troubleshooting determined a new trim was needed RETURN LABELS ARE ENCLOSE WITHIN THE PACKING SLIP ENVELOPE. | SAVANT RECESS MULTICELL | 1 |  | USAI-1MCD8-C30-LPIMWH-00 |  |  | RMA14500 |  | ELE
2020-09-10 | SO106125 |  |  | BENFIELD LIGHTING-WT PLNS |  | REPORTED DEFECTIVE | BEVELED MINI X | 1 |  | SP-323-0500-22 |  |  | RMA14499 |  | ELE
2020-09-10 | SO52392 |  | CD+M -Nashville | GRAYBAR ELECTRIC-ST LOUIS | HCA CAPITOL VIEW FLOORS 4-//Q28758 | REPORTED DEFECTIVE | SERVICE PARTS | 10 |  | SP-092-0500 |  |  | RMA14497 |  | ELE
2020-09-10 | SO104928 |  |  | TURTLE & HUGHES - NEWBURGH |  | REPORTED DEFECTIVE | BEVELED 2.2 | 1 |  | LEM-275-32-3522KS |  |  | RMA14496 |  | ELE
2020-09-09 | SO44049 |  |  | MIDWAY ELECTRIC AND DATA SUPPLY, INC. | COUNTER SALE | REPORTED DEFECTIVE | SERVICE PARTS | 1 |  | SP-026-0700 |  |  | RMA14495 |  | ELE
2020-09-09 | SO100115 |  | CROSSED | GRAYBAR ELECTRIC-ST LOUIS | RINGLING COLLEGE UNDERCLASS /Q48113 | REPORTED DEFECTIVE | BEVELED BLOCK | 1 |  | SP-241-0700-2 |  |  | RMA14494 |  | ELE
2020-09-09 | SO99941 |  | ELIZABETH ROBERTS | WNL LIGHTING | 109 WEST11TH ST | REPORTED DEFECTIVE | BEVELED MINI WGD | 1 |  | LEM-313-00-3022KS |  |  | RMA14493 |  | ELE
2020-09-09 | SO105784 |  |  | LONESTAR ELECTRIC SUPPLY |  | REPORTED DEFECTIVE | BEVELED 2.2 | 1 |  | SP-372-0900-6E |  |  | RMA14492 |  | ELE
2020-09-09 | SO79756 |  | PCF ELECTRIC SAN DIEGO CA | EMPIRE ELECTRICAL SUPPLY | COMMON AREAS REMODEL 5TH FLR | REPORTED DEFECTIVE | BEVELED BASIC | 1 |  | SP-062-0500-2 |  |  | RMA14491 |  | ELE
2020-09-09 | SO106334 |  |  | CITY ELECTRIC SUPPLY - BROCKTON |  | REPORTED TYPE M6 Trim half lit, Possible bad connector | MICRO PENDANT | 1 |  | MPD06-21H1-35KS-50-BL-BL-PR1-RM |  |  | RMA14490 |  | ELE
2020-09-09 |  |  |  | REXEL - DENVER |  | REPORTED DEFECTIVE | BEVELED PRIMARY | 3 |  | LEM-307-00-35KS |  |  | RMA14489 |  | ELE
2020-09-09 | SO74709 |  | GOTTESMAN ASSOCIATES | WESCO - MISSISSAUGA | TANNENBAUM HOME | REPORTED DEFECTIVE | BEVELED MINI | 3 |  | SP-065-0500-3 |  |  | RMA14488 |  | ELE
2020-09-09 | SO106112 |  |  | GOTHAM LIGHTING |  | RECEIVED INCORRECT ( ROUND )TRIMS RETURN LABELS ARE ENCLOSE WITHIN THE PACKING SLIP ENVELOPE. | BEVELED 2.2 | 12 |  | B4RDF-G1-WH-WH-TRM |  |  | RMA14487 |  | OE
2020-09-09 | SO102313 |  |  | SADDLEBACK DISTRIBUTING, LLC |  | REPORTED firing up at 4500- 5000k & tested voltage and voltage is consistent | BEVELED 2.1 | 30 |  | LEM-240-01-35KH |  |  | RMA14486 |  | ELE
2020-09-09 | SO100573 |  | INTERIOR ARCHITECTS (OOT) | CED - EFENGEE ELECTRIC SUPPLY | BANK OF AMERICA 20TH FLOOR / Q46311 | REPORTED TYPE D4 trims half lit. Possible bad connector. | MICRO | 5 |  | MDL04-13H1-30KS-50-BL-TRM |  |  | RMA14485 |  | ELE
2020-09-08 | SO106193 |  |  | REXEL - LITHIA SPRINGS |  | TYPE D1 QTY(30) out of (70) fixtures did not light. | NANOLED NXT | 3 |  | SP-092-0350-2 |  |  | RMA14484 |  | ELE