## Sheet 1
Date | orig_SO | ShipDate | Specifier | Customer | Job_Name | Summary | Product_Family | Qty | Qty_On_Order | Prob_Part | Replaced | Repl_SO | RMA | Comments | Code
2021-04-09 | SO111823 |  |  | YALE ELECTRIC-CANTON |  | REPORTED They bench tested 11 of the 34, and only 8 of the 11 illuminated. Fixtures going in a slope ceiling and we will have limited access after they are installed | BEVELED MINI PENDANT | 1 |  | CMRD10-20WG2-3022KS-55-S-WH-CR3-UNV-D6E-MOD1 |  |  | RMA15410 |  | ELE = Electrical
2021-04-09 | SO109402 |  |  | EVERLIGHTS |  | REPORTED 2 are missing “plate” or ring see pic labeled ring2 are “wrong hooks” trim brackets installed incorrectly. See pic.1 has a “missing bracket” Is a missing hanger bracket, see pic.1 has the “missing driver” it is also missing the driver housing cover. | SLIVERLED PRIMARY | 6 |  | P2RF-15L2-EC-120V-D21-HSG-MOD1 |  |  | RMA15409 |  | QC = QC Error
2021-04-09 | SO112915 |  |  | ILLUMINICO |  | REPORTED We have a weird situation onsite with 2x L1S fixtures from this order - i5777USAI-3 These two lights are not working, but the EC checked each part of the fixture individually (LED Board, warm glow module and driver) and each part works fine in other fixtures. When assembled together the two fixtures don’t work. | BEVELED MINI COMPLETE WGD | 2 |  | B3SDL-20WG2-3022KH-45-FT-RM-HSG |  |  | RMA15408 |  | ELE = Electrical
2021-04-09 | SO82852 |  | SYNALOVSKI ROMANIK | SOUTH DADE LTG/FLA | AVENTURA CHABAD | REPORTED one day they were working and the next stopped | BEVELED BASIC | 8 |  | SP-062-0500-2 |  |  | RMA15407 |  | ELE = Electrical
2021-04-09 | SO112805 |  |  | ATLANTIC ELECTRIC SUPPLY |  | REPORTED Incorrect driver was sent with 1000mA instead of 500mA needed.// REPL SO115021 / INVTBD -- UPON RECEIPT | BEVELED 2.1 | 1 |  | SP-140-1000-2 |  |  | RMA15406 |  | MFG = Manufacturing error
2021-04-09 | SO98894 |  | CM KLING (OOT) | MAYER ELECTRIC SUPPLY - NEWPORT NEWS | RESIDENCES AS THE CAVALIER MARRIOTT | REPORTED flickering | BEVELED PRIMARY | 1 |  | LEM-307-00-27KS |  |  | RMA15405 |  | ELE = Electrical
2021-04-09 | SO98894 |  | CM KLING (OOT) | MAYER ELECTRIC SUPPLY - NEWPORT NEWS | RESIDENCES AS THE CAVALIER MARRIOTT | REPORTED flickering | MINI PRIMARY | 4 |  | SP-420-0350-2 |  |  | RMA15405 |  | ELE = Electrical
2021-04-09 | SO98985 |  | SMITH GROUP | CED-STERLING | US DEA 600 700 ARMY NAVY DR /Q47492-47493 | REPORTED DRIVER OUT | BEVELED 2.2 | 2 |  | SP-312-1050-6E |  |  | RMA15404 |  | ELE = Electrical
2021-04-09 | SO98985 |  | SMITH GROUP | CED-STERLING | US DEA 600 700 ARMY NAVY DR /Q47492-47493 | REPORTED DRIVER OUT | BEVELED 2.2 | 1 |  | SP-312-1400-6E |  |  | RMA15404 |  | ELE = Electrical
2021-04-09 | SO96309 |  | HED SOUTH | HED SOUTH | COBA RESIDENCE-QT 46882 | SO96309 / INV125447 -- NOT NEEDED – CAN NOT USE CREDIT UPON RECEIPT IN BRAND NEW CONDITION, LESS 50% RESTOCKING | BEVELED 2.2 | 25 |  | B4SAF-40-S-BZ-BZ-TRM |  |  | RMA15402 |  | CNN = Changes Not Needed
2021-04-09 | SO110780 |  |  | B&S ELECTRIC SUPPLY CO |  | REPORTED Fixture would not light. Tech advised to perform the trouble shooting and this resolved the issue. | BEVELED 2.1 | 3 |  | LEM-212-00-6022KS |  |  | RMA15401 |  | ELE = Electrical
2021-04-09 | SO91150 |  |  | SAVANT SYSTEMS LLC | MAN CAVES PLUS INC | REPORTEDWe have a customer with the following issues: Using an eldoLED Powerdriver 561/S connected to a Recess 3 - the light stopped working and only will occasionally blink red. The Recess 3 works fine on another eldoLED Powerdriver so the issues has been localized that driver, confirmed the electrical wiring is correct. | SAVANT CYLINDER 3 | 1 |  | USAI-3DL-FC1RX18D23-00 |  |  | RMA15400 |  | ELE = Electrical
2021-04-09 | SO59600 |  | ANDY CUTCHER -AUDIOVISIONS/GUY DRIER ARCH | CED-PALM DESERT | THK Residence Lot 2 The Canyons at Bighorn | REPORTED NOT LIGHTING UP | NANO/MINI | 2 |  | LEM-203-00-30KH |  |  | RMA15399 |  | ELE = Electrical
2021-04-09 | SO109058 |  |  | CITY ELECTRIC SUPPLY - COOPER CITY |  | REPORTEDThey have 2x of these fixtures that have stopped working. Below is a pick of the LED array that is believed to be defective. | BEVELED 2.2 WGD | 2 |  | LEM-276-32-3022KH |  |  | RMA15398 |  | ELE = Electrical
2021-04-08 | SO96361 |  | SBLD STUDIO | WIEDENBACH BROWN - HICKSVILLE | EIG GLOBAL ENERGY PATTERNS /Q46770 | REPORTED DRIVER OUT | BEVELED MINI X | 1 |  | SP-323-0350-2 |  |  | RMA15397 |  | ELE = Electrical
2021-04-08 | SO79438 |  | KL LIGHTING CONSULTANTS | ELLIOTT ELECTRIC SUPPLY-NACOGDOCHES | ME 4722 BUNNY RUN Q35935 | REPORTED Fixtures out | BEVELED 2.0 WGD | 1 |  | LEM-198-32-3022KH |  |  | RMA15395 |  | ELE = Electrical
2021-04-08 | SO79438 |  | KL LIGHTING CONSULTANTS | ELLIOTT ELECTRIC SUPPLY-NACOGDOCHES | ME 4722 BUNNY RUN Q35935 | REPORTED Fixtures out | BEVELED BASIC | 1 |  | LEM-213-00-27KS |  |  | RMA15395 |  | ELE = Electrical
2021-04-08 | SO79438 |  | KL LIGHTING CONSULTANTS | ELLIOTT ELECTRIC SUPPLY-NACOGDOCHES | ME 4722 BUNNY RUN Q35935 | REPORTED Fixtures out | BEVELED 2.0 | 1 |  | SP-060-0700-4 |  |  | RMA15395 |  | ELE = Electrical
2021-04-08 | SO79438 |  | KL LIGHTING CONSULTANTS | ELLIOTT ELECTRIC SUPPLY-NACOGDOCHES | ME 4722 BUNNY RUN Q35935 | REPORTED Fixtures out | BEVELED BASIC | 1 |  | SP-062-0500-4 |  |  | RMA15395 |  | ELE = Electrical
2021-04-08 | SO109146 |  |  | LONESTAR ELECTRIC SUPPLY |  | REPORTED LIGHTS OUT | REMOTE PS | 1 |  | RPB-01-18FC1-UNV-D23X2-RJ |  |  | RMA15394 |  | ELE = Electrical
2021-04-08 | SO114241 |  |  | BOB BROWN |  | REPORTED defective driver | REMOTE PS | 1 |  | RPA-01-13H1-UNV-D6E |  |  | RMA15393 |  | ELE = Electrical
2021-04-08 | SO113293 |  |  | IMAGE LIGHTING-NY |  | REPORTEDTECH SUPPORT PROVIDED INCORRECT | NANO/MINI | 6 |  | LEM-203-00-27KH |  |  | RMA15392 |  | QC = QC Error
2021-04-08 | SO102494 |  |  | CHELSEA LIGHTING |  | REPORTED REPLACEMENTA portion of the fixtures on not turning on at all.// REPL SO114951 / INVTBD -- CREDIT UPON RECEIPT | BEVELED COLOR SELECT | 14 |  | LEM-219-00-6022KS |  |  | RMA15390 |  | ELE = Electrical
2021-04-08 | SO102494 |  |  | CHELSEA LIGHTING |  | REPORTED REPLACEMENTA portion of the fixtures on not turning on at all.// REPL SO114951 / INVTBD -- CREDIT UPON RECEIPT | REMOTE PS | 1 |  | RPB-01-12CS1-UNV-D28-MOD1 |  |  | RMA15390 |  | ELE = Electrical
2021-04-08 | SO102494 |  |  | CHELSEA LIGHTING |  | REPORTED REPLACEMENTA portion of the fixtures on not turning on at all.// REPL SO114951 / INVTBD -- CREDIT UPON RECEIPT | SERVICE PARTS | 2 |  | SP-394-02 |  |  | RMA15390 |  | ELE = Electrical
2021-04-08 | SO79447 |  | BURO HAPPOLD (OOT) | CED-DENVER | DENVER ART MUSEUM/QUOTE 38634 | REPORTED LED BURNT OUT | BEVELED BASIC | 1 |  | LEM-213-00-30KS |  |  | RMA15389 |  | ELE = Electrical
2021-04-08 | SO104784 |  |  | UNITED LIGHTING & ELECTRICAL GROUP-COMMACK |  | REPORTED DRIVER OUT | BEVELED 2.1 | 3 |  | SP-140-1000-2 |  |  | RMA15388 |  | ELE = Electrical
2021-04-07 | SO53100 |  | QUENTIN THOMAS ASSOCIATES /BAY ASSOCIATES | HILL COUNTRY ELECTRIC-AUSTIN | SHERATON GEORGETOWN HOTEL/Q28112 | REPORTED Light engines not working. | NANO/MINI | 11 |  | LEM-203-00-30KS |  |  | RMA15386 |  | ELE = Electrical
2021-04-07 | SO111588 |  |  | LIGHTING EXPRESSIONS |  | REPORTED Reported to have received the incorrect trim | BEVELED MINI COMPLETE | 5 |  | B3RDF-SF-WH-WH-TRM |  |  | RMA15385 |  | QC = QC Error
2021-04-07 | SO104191 |  |  | FACILITY SOLUTIONS GROUP - NEW YORK |  | REPORTED he installed the two replacement ballasts that you provided us with and I was told it didn’t resolve the issue. The electrician believes the issue is the LED. How quickly can I get two replacement LED’s on site | BEVELED MINI | 2 |  | LEM-319-00-30KS |  |  | RMA15384 |  | ELE = Electrical
2021-04-07 | SO111683 |  |  | CHELSEA LIGHTING |  | REPORTED lost freight | MICRO | 60 |  | MDF04-13WG1-3022KH-50-WH-WH-TRM |  |  | RMA15383 |  | SHIP = Shipping Error
2021-04-07 | SO106336 |  |  | CHELSEA LIGHTING |  | REPORTED Requested replacement driver. | BEVELED 2.2 | 1 |  | SP-312-0500-6E |  |  | RMA15382 |  | ELE = Electrical
2021-04-07 | SO105823 |  |  | KIRBY RISK CORPORATION |  | REPORTED LIGHT OUT | MICRO | 2 |  | MWF06-21H1-30KS-BG-BL-TRM |  |  | RMA15381 |  | ELE = Electrical
2021-04-07 | SO114120 |  |  | TIMOTHY HART |  | REPORTED RETURN FREIGHT | CATALOG | 25 |  | CA-107 |  |  | RMA15379 |  | SHIP = Shipping Error
2021-04-07 | SO114120 |  |  | TIMOTHY HART |  | REPORTED RETURN FREIGHT | CATALOG | 25 |  | CA-106 |  |  | RMA15379 |  | SHIP = Shipping Error
2021-04-07 | SO114120 |  |  | TIMOTHY HART |  | REPORTED RETURN FREIGHT | CATALOG | 25 |  | CA-105 |  |  | RMA15379 |  | SHIP = Shipping Error
2021-04-07 | SO114120 |  |  | TIMOTHY HART |  | REPORTED RETURN FREIGHT | CATALOG | 12 |  | CA-108 |  |  | RMA15379 |  | SHIP = Shipping Error
2021-04-06 | SO109839 |  |  | WELTMANN LIGHTING LLC |  | REPORTED NOT LIGHTING UP | BEVELED 2.1 | 12 |  | LEM-240-00-30KS |  |  | RMA15378 |  | ELE = Electrical
2021-04-06 | SO109839 |  |  | WELTMANN LIGHTING LLC |  | REPORTED NOT LIGHTING UP | BEVELED 2.1 | 12 |  | SP-141-0500-19 |  |  | RMA15378 |  | ELE = Electrical
2021-04-06 | SO113338 |  |  | WIEDENBACH BROWN - HICKSVILLE |  | REPORTED REMAINING MATERIAL DID NOT SHIPPED | SERVICE PARTS | 20 |  | SP-338-03-SQ-M-F |  |  | RMA15377 |  | QC = QC Error
2021-04-06 | SO107226 |  |  | FIRST SOURCE ELECTRICAL |  | REPORTED EC went out there already to make sure it wasn’t something other than a bad LED module. The unit has been working for months and just stop working in that section. | BEVELED MINI | 1 |  | LEM-319-00-35KS |  |  | RMA15376 |  | ELE = Electrical
2021-04-06 | SO79289 |  | DESIGN BUILD | SONEPAR USA/CAPITAL | GREYSTAR OFFICE HEADQUARTERS/COURIER SQUARE Q38009 | REPORTED NO PWOER OUT PUT | SLIVERLED | 1 |  | SP-189-0225-6E |  |  | RMA15375 |  | ELE = Electrical
2021-04-06 |  |  |  | PACIFIC LIGHTING SYSTEMS |  | REPORTED fixture didnt work out the box | BEVELED MICRO | 1 |  | SP-263-0700-6E |  |  | RMA15374 |  | ELE = Electrical
2021-04-06 |  |  |  | LONESTAR ELECTRIC SUPPLY |  | SO104991, 105668, 105799, 112298 / INVTBD -- ORDERING ERROR – CAN NOT USE REPLACEMENTS ORDERED ON SOTBD / INVTBD CREDIT UPON RECEIPT IN BRAND NEW CONDITION, LESS 50% RESTOCKING | BEVELED MINI COMPLETE | 203 |  | B3RDL-S-AC-TRM |  |  | RMA15373 |  | OE = Order Entry Error
2021-04-06 |  |  |  | LONESTAR ELECTRIC SUPPLY |  | SO104991, 105668, 105799, 112298 / INVTBD -- ORDERING ERROR – CAN NOT USE REPLACEMENTS ORDERED ON SOTBD / INVTBD CREDIT UPON RECEIPT IN BRAND NEW CONDITION, LESS 50% RESTOCKING | BEVELED MINI COMPLETE | 527 |  | B3RDF-S-AC-AC-TRM |  |  | RMA15373 |  | OE = Order Entry Error
2021-04-06 | SO84026 |  | E.J POPE | M & M LIGHTING, L.P. | EAST FRIAR TUCK LANE | REPORTED yellow | BEVELED 2.1 | 1 |  | LEM-240-00-27KH |  |  | RMA15372 |  | ELE = Electrical
2021-04-06 | SO58113 |  | CM KLING (OOT) | GRAYBAR ELECTRIC-ST LOUIS | WFU BENTON CONVENTION CENTER /Q28685 | REPORTED DRIVER OUT | BEVELED | 1 |  | LEM-218-00-30KS |  |  | RMA15371 |  | ELE = Electrical
2021-04-06 | SO58113 |  | CM KLING (OOT) | GRAYBAR ELECTRIC-ST LOUIS | WFU BENTON CONVENTION CENTER /Q28685 | REPORTED DRIVER OUT | BEVELED 2.0 | 1 |  | SP-120-1000-6B |  |  | RMA15371 |  | ELE = Electrical
2021-04-05 | SO106184 |  |  | SUN VALLEY ELECTRIC |  | REPORTED DRIVER out | BEVELED 2.1 | 1 |  | SP-141-0700-6F |  |  | RMA15370 |  | ELE = Electrical
2021-04-05 | SO110372 |  |  | PLATT ELECTRIC SUPPLY - BEAVERTON |  | REPORTED INCORRECT TRIMS | BEVELED BASIC | 5 |  | 1351W-B1-10 |  |  | RMA15369 |  | QC = QC Error